## Conveyor
Revisions$ | Tags_Equipment$ | Helper$ | Types$
| System |  | Equipment ID No.
| PLC/Link |  | SCADA Conv Type
| Power Box |  | SCADA Comm Type
| Equipment Line |  | SCADA L1
| Equipment Element |  | SCADA L2
Equipment Elementtype
Signal Mapping 1
Signal Address 1
Command Mapping
Command Address
Running Hours/Activations
Copy of Running Hours/Activations
Display Name
Edge Color
Alarm Tree
Area / Level 1 view
Area / Level 2 view
Draw on Views
LeftClick

## BaseList
Revisions$ | Signal_Mapping$ | Command_Mapping$ | Alarms$ | Status$ | Commands$ | States$ | Helper$
| Type | Type | AlarmNumber | StatusNumber | CommandNumber | State Ref
| Word | Element link | State Ref | State Ref | Command Text | State Text
| Bit | Bit | State Text | State Text | Command ID | State Color
| Analog Value | Analog Value | Element un-referenced Type | Element un-referenced Type | Command Priority | Special Function
| AlarmStatus Number | Command Number | Priority | Priority | Command Text Lang 2 | Line State
| Part Name | Part Name | Resettable | Status Text |  | Movement State
| Show on SCADA | Command Priority | ToBeShownAtScada | ToBeShownAtScada |  | Special Function Color
| State Ref | Command Text | Alarm Text |  |  | State Text Lang2
| Functional Text |  | Cause |  |  | State Importance
| State Text |  | Effect
| States priority |  | Repair
| State Color |  | Alarm Text Language 2
| State Special Function |  | Cause Language 2
| Alarm/Status Priority |  | Effect Language 2
| States priority formula |  | Repair Language 2

## TestDataTemplate
Template | Instances
["{0}_{1}_SYSTEM_KAL_MAIN_ACTIVE","0","Manual"] | ["CRISBELT_PLC01_SYSTEM_KAL_MAIN_ACTIVE", "0", "Manual"]
["{0}_{1}_{2}_{3}_{4}_Line_AC","1","NoControl"] | ["CRISBELT_PLC19_TL55_PLC19_PVG_BHS_S2_LA_0101_Line_AC","16384","NoControl"]
["{0}_{1}_{2}_{3}_SIGNAL_{4}","0","Manual"] | ["CRISBELT_PLC01_TL35_BC045_SIGNAL_1","0","Manual"]

## XmlTemplate
Template | Instances
<TextBlock x:Name="{0}" HorizontalAlignment="Left" VerticalAlignment="Top" Margin ="{1}" TextWrapping="Wrap" Text="{2}" Width ="129" /> | <TextBlock x:Name="teBlock_PLC26_MCC01_FCC01" HorizontalAlignment="Right" Margin = "0,532,451,530" TextWrapping="Wrap" Text="PLC26.MCC01.FCC01" Width ="129" />
<bgElementCommon:BGElementCommon x:Name="{0}" Margin="{1}" Style="{2}" VerticalAlignment="Top" RenderTransformOrigin="0.5,0.5" OpacityMask="Black" HorizontalAlignment="Left" LegendStyleName="{3}" Width="{4}" Height="{5}" UseLayoutRounding="False" ElementName="{6}" DisplayName="{7}" ScadaLevel="{8}" ControlObject="{9}" PowerBox="{10}" Level3View="{11}" ChooseLeftClickMode="{12}" NavigateToView="{13}" ElementType="" PLCName="{14}" CommandSignalName="{15}" CommandMappingType="{16}" TypeDescription="{17}" > <bgElementCommon:BGElementCommon.Signals> <helper:BGSignal Id="{0}" UsePostfix="{1}" Postfix="{2}" UsePrefix="{3}" Prefix="{4}" KeepAliveType="{5}" KeepAliveSignal="{6}" /> </bgElementCommon:BGElementCommon.Signals> <bgElementCommon:BGElementCommon.Background> <SolidColorBrush Color="{0}" /> </bgElementCommon:BGElementCommon.Background> <i:Interaction.Behaviors> <{0}/> </i:Interaction.Behaviors> </bgElementCommon:BGElementCommon> | <bgElementCommon:BGElementCommon x:Name="CRISBELT_PLC19_TL55_HD144" Margin="0,444.499,-428.25,0" Style="{StaticResource Conveyor_Diverter_SingleArm_L1}" VerticalAlignment="Top" RenderTransformOrigin="0.5,0.5" OpacityMask="Black" HorizontalAlignment="Left" LegendStyleName="Legend_Conveyor_Straight" Width="Auto" Height="Auto" UseLayoutRounding="False" ElementName="CRISBELT_PLC19_TL55" DisplayName="=TL55" ScadaLevel="LEVEL1" ControlObject="Diverter_1" PowerBox="FCC01" Level3View="Level3ViewDiverter_L" ChooseLeftClickMode="Navigation" NavigateToView="BG_SCADA.Views.Level2.PVG_BHS_S2_LA_0103_0104_0105" ElementType="" PLCName="PLC19" CommandSignalName="CRISBELT_PLC19_TL55_HD144_CM" CommandMappingType="CMD_Diverter_1" TypeDescription="Singel arm diverter" Grid.Column="1"> <bgElementCommon:BGElementCommon.Signals> <helper:BGSignal Id="Signal1" UsePostfix="True" Postfix="_PLC19_PVG_BHS_S2_LA_0103_0104_0105_Line_AC" UsePrefix="False" Prefix="" KeepAliveType="Constant" KeepAliveSignal="CRISBELT_PLC19_SYSTEM_KAL_MAIN_ACTIVE" /> </bgElementCommon:BGElementCommon.Signals> <bgElementCommon:BGElementCommon.Background> <SolidColorBrush Color="{StaticResource BG_COLOR_EDGE_TL55}" /> </bgElementCommon:BGElementCommon.Background> <i:Interaction.Behaviors> <ScadaBase_Behaviors:BGLineBehavior /> </i:Interaction.Behaviors> </bgElementCommon:BGElementCommon>
<bgElementCommon:BGElementCommon x:Name="CRISBELT_PLC15_DL11_PC002" Margin="280,70,0,0" Style="{StaticResource Conveyor_Straight_L2}" VerticalAlignment="Top" RenderTransformOrigin="0.5,0.5" OpacityMask="Black" HorizontalAlignment="Left" LegendStyleName="Legend_Conveyor_Straight" Width="30" Height="20" UseLayoutRounding="False" ElementName="CRISBELT_PLC15_DL11_PC002" DisplayName="=DL11.PC002" ScadaLevel="LEVEL2" ControlObject="Conv_47" PowerBox="FCC01" Level3View="Level3ViewConv_47" ChooseLeftClickMode="Level3Open" NavigateToView="" ElementType="" PLCName="PLC15" CommandSignalName="CRISBELT_PLC15_DL11_PC002_CM" CommandMappingType="CMD_CONV_17" TypeDescription="45 degree curve"> <bgElementCommon:BGElementCommon.Signals> <helper:BGSignal Id="Signal1" UsePostfix="True" Postfix="_SIGNAL_1" UsePrefix="False" Prefix="" KeepAliveType="Constant" KeepAliveSignal="CRISBELT_PLC15_SYSTEM_KAL_MAIN_ACTIVE" /> </bgElementCommon:BGElementCommon.Signals> <bgElementCommon:BGElementCommon.Background> <SolidColorBrush Color="{StaticResource BG_COLOR_EDGE_DL11}" /> </bgElementCommon:BGElementCommon.Background> <i:Interaction.Behaviors> <BG_SCADA_Behaviors_Conveyor:Conv_47Behavior /> </i:Interaction.Behaviors> </bgElementCommon:BGElementCommon>

## L1AlarmDataTemple
Bit | Describe | Conv_47_Single1 | Dep_Carousel_Single1 | Diverter_1_Single1 | PPC_2_Single1 | Counter_1_Single1 | PowerPanel_2_Single1 | Powerbox_4_Single1 | PowerPanel_2_Single2 | Powerbox_4_Single2
0 | Ready | {24} | {24} | {24} | {24}
1 | NotReady
2 | Stopped | {18} | {18} |  | {18}
3 | Stopping
4 | Running | {25} | {25} | {25} | {25}
5 | EnergySaving | {28} | {28} | {28} | {28}
6 | MaintenanceMode
7 | DebugMode
8 | Manual | {29} | {29} | {29} | {29}
9 | Jam | {5,10,30} | {30} | {30} | {30}
10 | Full
11 | DieBack | {26} |  |  | {26}
12 | Disabled | {22} | {22} | {22} | {22}
13 | Minor | {0,3,6,8,9,12,16,19,20} | {0,2,3,4,5,6,11,12,14,19,20} | {2,4,5,8,11,12,15,16,19,20,21} | {2,4,5,8,11,12,15,16,19,20,21} | {11,15}
14 | Major | {4,13,15} | {1,7,15,21} | {0,1,9,10} | {0,1,9,10} | {0,9,10,12}
15 | Critical